## Sheet1
Message # | Explanation
001 | Software version. The version number is printed as eight digits. They are the year, month, and day of the software build in the yyyymmdd format.
002 | Operating mode changed
003 | Dawn status message. This will not match the official sunrise time. It is generated at dawn based on a light measurement. It is an informational message only. This message may occasionally be printed during the day after heavy storm clouds have cleared.
004 | Dusk status message. This will not match the official sunset time. It is generated at dusk based on a light measurement. It is an informational message only. This message may occasionally be printed during the day if storm clouds are very dark.
005 | Parked for the night facing tomorrow's sunrise. This is an information message only. The parking of the array is delayed until two hours after dark so the array doesn't get parked during an eclipse.
006 | Stowed for protection from high cross-wind. Manual mode will be active so you will get a reminder message every hour.
050 | Query (Q): This printout is the result of a query command. It reports the status of the system. The data that is printed in each line is listed below. Note that the sunny, hazy, and cloudy statistics are cleared after updating the daily logs so they will be empty between midnight and sunrise the following morning.
Line-1 | East light intensity, West light intensity, Down light intensity, Up light intensity, Direct (sun) light intensity, Snow sensor light intensity, Azimuth pulse count, Elevation pulse count, Pulses per hour.
Line-2 | Current air temperature, Today's minimum temperature and the time that it was recorded, Today's maximum temperature and the time that it was recorded, PV temperature, Last measured azimuth motor current in milli-amps, Last measured elevation motor current in milliamps, The amount of sun today in seconds, The amount of haze today in seconds, The amount of cloud today in seconds. (These last 3 fields are converted to minutes when the data log is updated at midnight.)
Line-3 | Line 3 is optional. When printed, it will provide additional information in plain text.
Line 1
Parameter | Units
East light intensity | -
West light intensity | -
Down light intensity | -
Up light intensity | -
Incident light intensity (looking straight at the sun) | -
Reflected light from the array
Azimuth pulse count | Count
Elevation pulse count | Count
Pulses per hour calibration data for cloudy day tracking mode | Count
Line 2
Azimuth motor current | Milliamps
Elevation motor current | Milliamps
Current air temperature | °C
Today's minimum air temperature | °C
Time that the minimum temperature was first reached | hh:mm
Today's maximum air temperature | °C
Time that the maximum temperature was first reached | hh:mm
Array temperature | °C
Total daily sunny period (reset at midnight) | hh:mm
Total daily hazy period (reset at midnight) | hh:mm
Total daily cloudy period (reset at midnight) | hh:mm
100 | Reminder message printed every hour when the array is in manual mode or there is an alarm condition that will prevent normal tracking. *** indicates a major alarm and tracking is disabled. ** is a minor alarm indicating that azimuth tracking is working but elevation tracking has been disabled. * is a warning that a non-standard tracking algorithm has been manually selected.
101 | Motor Fail: This identifies which motor was at fault and the conditions encountered at the time of failure
102 | Park Failed: This will usually be accompanied by a motor failure alarm which will trigger the printing of hourly reminder messages.
103 | Stow failed: This will usually be accompanied by a motor failure alarm which will trigger the printing of hourly reminder messages.
2xx | The 200 series of messages are generated in response to a software error or some condition that the programmer wants to monitor. If you get one of these messages, please report it to them.